## Data_BOS
Equipment Type | Make | Model | Amp Rating | Utility | Helper Index |  | APS |  | 0 | 0 | 0 0 |  | #N/A | #N/A | #VALUE!
AC Disconnect | CUTLER HAMMER | DG221URB | 30 | Gen | Variation | Standard Name | What is the POI Type? | 0 |  |  |  |  | #N/A | #N/A | #VALUE!
AC Disconnect | CUTLER HAMMER | DG222URB | 60 | Gen | Utility Disconnect | Fused AC Disconnect | ESS? (Yes,No) | No |  |  |  |  | #N/A | #N/A | #VALUE!
AC Disconnect | CUTLER HAMMER | DG323UGB | 100 | Gen | Utility AC Disconnect Switch | Fused AC Disconnect | Pos 1 - Battery 1 | [5 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | CUTLER HAMMER | DG324URK | 200 | Gen | AC Disconnect | AC Disconnect | Pos 1 - Battery 2 | 0 |  |  |  |  | #N/A | #N/A | #VALUE!
AC Disconnect | EATON | DG221URB | 30 | Gen | Bi-Directional Meter DER Side Disconnect | ESS Disconnect | IF ESS Yes, Is Battery AC/DC Coupled? | [5 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | EATON | DG222URB | 60 | Gen | Uni-Directional Meter Line Side Disconnect | AC Disconnect | [5 empty] | 0 | #N/A | #N/A | #VALUE!
AC Disconnect | EATON | DG223URB | 100 | Gen | DER Storage Meter Disconnect Switch | AC Disconnect | [5 empty] | Equipment Type | #N/A | #N/A | #VALUE!
AC Disconnect | EATON | DG324URK | 200 | Gen | DER Meter Disconnect Switch | AC Disconnect | [6 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | SIEMENS | DU324RB | 200 | Gen | Photovoltaic System Disconnect Switch | Fused AC Disconnect | [6 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | SIEMENS | GNF323R | 100 | Gen | Fused AC Disconnect | Fused AC Disconnect | [6 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | SIEMENS | LNF221R | 30 | Gen | Junction Box | Junction Box | [6 empty] | #N/A | #N/A | #VALUE!
AC Disconnect | SIEMENS | LNF222R | 60 | Gen | Combiner Panel | Combiner Panel | [6 empty] | #N/A |  | #VALUE!
AC Disconnect | SQUARE D | DU221RB | 30 | Gen | Dedicated Photovoltaic System Combiner Panel | Position Combiner Panel | [6 empty] | #N/A
AC Disconnect | SQUARE D | DU222RB | 60 | Gen | Uni-Directional Meter | PV Meter | [5 empty] | 0 | #N/A
AC Disconnect | SQUARE D | DTU223RB | 100 | Gen | Dedicated DER Meter | PV Meter
AC Disconnect | SQUARE D | DU324RB | 200 | Gen | PV Meter | PV Meter
AC Disconnect | SQUARE D | DTU223RB | 100 | Gen | Bi-Directional Meter | ESS Meter
Fused AC Disconnect | CUTLER HAMMER | DG221NRB | 30 | Gen | DER Storage Meter | PV Meter
Fused AC Disconnect | CUTLER HAMMER | DG222NRB | 60 | Gen | DG Disconnect Switch | AC Disconnect
Fused AC Disconnect | CUTLER HAMMER | DG223NRB | 100 | Gen | Utility DG Meter | PV Meter
Fused AC Disconnect | CUTLER HAMMER | DG324NRK | 200 | Gen | Co-Generation System Utility Disconnect | AC Disconnect
Fused AC Disconnect | EATON | DG221NRB | 30 | Gen | Enphase Combiner Box | Enphase Combiner Box
Fused AC Disconnect | EATON | DG222NRB | 60 | Gen | Photovoltaic System Disconnect | Fused AC Disconnect
Fused AC Disconnect | EATON | DG223NRB | 100 | Gen | Photovoltaic System Service Disconnect | Fused AC Disconnect
Fused AC Disconnect | EATON | DG324NRK | 200 | Gen | String Combiner Panel | String Combiner Panel
Fused AC Disconnect | SIEMENS | GF224NR | 200 | Gen | Position Combiner Panel | Position Combiner Panel
Fused AC Disconnect | SIEMENS | GF323 | 100 | Gen | Enphase System Controller | System Controller
Fused AC Disconnect | SIEMENS | LF221R | 30 | Gen | Tesla Gateway 3 | System Controller
Fused AC Disconnect | SIEMENS | LF222R | 60 | Gen | Tesla Backup Gateway 2 | System Controller
Fused AC Disconnect | SQUARE D | D221NRB | 30 | Gen | SolarEdge Backup Interface | System Controller
Junction Box | VYNCKIER | RU2LP |  | Gen | Uitlity AC Disconnect Switch | Fused AC Disconnect
Junction Box | WILEY | BR816L100RP | 100 | Gen | Bi-Directional Meter Line Side Disconnect | ESS Disconnect
Combiner Panel | EATON | BR816L100RP | 100 | Gen | SMS | System Controller
Combiner Panel | EATON | BR816L125RP | 125 | Gen | Utility PV AC Disconnect | AC Disconnect
Combiner Panel | EATON | BR816L200RP | 200 | Gen | Utility PV AC Disconnect | Fused AC Disconnect
Combiner Panel | SIEMENS | W0816ML1125CU | 125 | Gen | Backup Load Sub Panel | Backup Load Sub Panel
PV Meter | EATON | 011 | 125 | Gen | IQ Meter Collar | Meter Collar
PV Meter | EATON | 1004455BCH | 200A | Gen | Meter Collar Adapter | Meter Collar
PV Meter | MILBANK | U4015-0 | 200 | Gen
PV Meter | MILBANK | U4518-XL-W | 200 | Gen
PV Meter | MILBANK | U5929XL | 100 | Gen
PV Meter | SIEMENS | UAT111-BPCC | 135 | Gen
PV Meter | MILBANK | U1104-RL-PG-KK | 200 | Gen
Uni-Directional Meter | EATON | 011 | 125 | APS
Uni-Directional Meter | EATON | 1004455BCH | 200A | APS
Uni-Directional Meter | MILBANK | U4015-0 | 200 | APS
Uni-Directional Meter | MILBANK | U4518-XL-W | 200 | APS
Uni-Directional Meter | MILBANK | U5929XL | 100 | APS
Uni-Directional Meter | SIEMENS | UAT111-BPCC | 135 | APS
Dedicated DER Meter | EATON | 011 | 125 | SRP
Dedicated DER Meter | EATON | 1004455BCH | 200A | SRP
Dedicated DER Meter | MILBANK | U4015-0 | 200 | SRP
Dedicated DER Meter | MILBANK | U4518-XL-W | 200 | SRP
Dedicated DER Meter | MILBANK | U5929XL | 100 | SRP
Dedicated DER Meter | SIEMENS | UAT111-BPCC | 135 | SRP
Utility Disconnect | CUTLER HAMMER | DG221URB | 30 | APS
Utility Disconnect | CUTLER HAMMER | DG222URB | 60 | APS
Utility Disconnect | CUTLER HAMMER | DG323UGB | 100 | APS
Utility Disconnect | CUTLER HAMMER | DG324URK | 200 | APS
Utility Disconnect | EATON | DG221URB | 30 | APS
Utility Disconnect | EATON | DG222URB | 60 | APS
Utility Disconnect | EATON | DG223URB | 100 | APS
Utility Disconnect | EATON | DG324URK | 200 | APS
Utility Disconnect | SIEMENS | DU324RB | 200 | APS
Utility Disconnect | SIEMENS | GNF323R | 100 | APS
Utility Disconnect | SIEMENS | LNF221R | 30 | APS
Utility Disconnect | SIEMENS | LNF222R | 60 | APS
Utility Disconnect | SQUARE D | DU221RB | 30 | APS
Utility Disconnect | SQUARE D | DU222RB | 60 | APS
Utility Disconnect | SQUARE D | DTU223RB | 100 | APS
Utility Disconnect | SQUARE D | DU324RB | 200 | APS
Utility AC Disconnect Switch | CUTLER HAMMER | DG221URB | 30 | SRP
Utility AC Disconnect Switch | CUTLER HAMMER | DG222URB | 60 | SRP
Utility AC Disconnect Switch | CUTLER HAMMER | DG323UGB | 100 | SRP
Utility AC Disconnect Switch | CUTLER HAMMER | DG324URK | 200 | SRP
Utility AC Disconnect Switch | EATON | DG221URB | 30 | SRP
Utility AC Disconnect Switch | EATON | DG222URB | 60 | SRP
Utility AC Disconnect Switch | EATON | DG223URB | 100 | SRP
Utility AC Disconnect Switch | EATON | DG324URK | 200 | SRP
Utility AC Disconnect Switch | SIEMENS | DU324RB | 200 | SRP
Utility AC Disconnect Switch | SIEMENS | GNF323R | 100 | SRP
Utility AC Disconnect Switch | SIEMENS | LNF221R | 30 | SRP
Utility AC Disconnect Switch | SIEMENS | LNF222R | 60 | SRP
Utility AC Disconnect Switch | SQUARE D | DU221RB | 30 | SRP
Utility AC Disconnect Switch | SQUARE D | DU222RB | 60 | SRP
Utility AC Disconnect Switch | SQUARE D | DTU223RB | 100 | SRP
Utility AC Disconnect Switch | SQUARE D | DU324RB | 200 | SRP
Photovoltaic System Disconnect Switch | CUTLER HAMMER | DG221NRB | 30 | APS
Photovoltaic System Disconnect Switch | CUTLER HAMMER | DG222NRB | 60 | APS
Photovoltaic System Disconnect Switch | CUTLER HAMMER | DG223NRB | 100 | APS
Photovoltaic System Disconnect Switch | CUTLER HAMMER | DG324NRK | 200 | APS
Photovoltaic System Disconnect Switch | EATON | DG221NRB | 30 | APS
Photovoltaic System Disconnect Switch | EATON | DG222NRB | 60 | APS
Photovoltaic System Disconnect Switch | EATON | DG223NRB | 100 | APS
Photovoltaic System Disconnect Switch | EATON | DG324NRK | 200 | APS
Photovoltaic System Disconnect Switch | SIEMENS | GF224NR | 200 | APS
Photovoltaic System Disconnect Switch | SIEMENS | GF323 | 100 | APS
Photovoltaic System Disconnect Switch | SIEMENS | LF221R | 30 | APS
Photovoltaic System Disconnect Switch | SIEMENS | LF222R | 60 | APS
Photovoltaic System Disconnect Switch | SQUARE D | D221NRB | 30 | APS
Bi-Directional Meter | EATON | 011 | 125 | APS
Bi-Directional Meter | EATON | 1004455BCH | 200A | APS
Bi-Directional Meter | MILBANK | U4015-0 | 200 | APS
Bi-Directional Meter | MILBANK | U4518-XL-W | 200 | APS
Bi-Directional Meter | MILBANK | U5929XL | 100 | APS
Bi-Directional Meter | SIEMENS | UAT111-BPCC | 135 | APS
Bi-Directional Meter DER Side Disconnect | CUTLER HAMMER | DG221URB | 30 | APS
Bi-Directional Meter DER Side Disconnect | CUTLER HAMMER | DG222URB | 60 | APS
Bi-Directional Meter DER Side Disconnect | CUTLER HAMMER | DG323UGB | 100 | APS
Bi-Directional Meter DER Side Disconnect | CUTLER HAMMER | DG324URK | 200 | APS
Bi-Directional Meter DER Side Disconnect | EATON | DG221URB | 30 | APS
Bi-Directional Meter DER Side Disconnect | EATON | DG222URB | 60 | APS
Bi-Directional Meter DER Side Disconnect | EATON | DG223URB | 100 | APS
Bi-Directional Meter DER Side Disconnect | EATON | DG324URK | 200 | APS
Bi-Directional Meter DER Side Disconnect | SIEMENS | DU324RB | 200 | APS
Bi-Directional Meter DER Side Disconnect | SIEMENS | GNF323R | 100 | APS
Bi-Directional Meter DER Side Disconnect | SIEMENS | LNF221R | 30 | APS
Bi-Directional Meter DER Side Disconnect | SIEMENS | LNF222R | 60 | APS
Bi-Directional Meter DER Side Disconnect | SQUARE D | DU221RB | 30 | APS
Bi-Directional Meter DER Side Disconnect | SQUARE D | DU222RB | 60 | APS
Bi-Directional Meter DER Side Disconnect | SQUARE D | DTU223RB | 100 | APS
Bi-Directional Meter DER Side Disconnect | SQUARE D | DU324RB | 200 | APS
Uni-Directional Meter Line Side Disconnect | CUTLER HAMMER | DG221URB | 30 | APS
Uni-Directional Meter Line Side Disconnect | CUTLER HAMMER | DG222URB | 60 | APS
Uni-Directional Meter Line Side Disconnect | CUTLER HAMMER | DG323UGB | 100 | APS
Uni-Directional Meter Line Side Disconnect | CUTLER HAMMER | DG324URK | 200 | APS
Uni-Directional Meter Line Side Disconnect | EATON | DG221URB | 30 | APS
Uni-Directional Meter Line Side Disconnect | EATON | DG222URB | 60 | APS
Uni-Directional Meter Line Side Disconnect | EATON | DG223URB | 100 | APS
Uni-Directional Meter Line Side Disconnect | EATON | DG324URK | 200 | APS
Uni-Directional Meter Line Side Disconnect | SIEMENS | DU324RB | 200 | APS
Uni-Directional Meter Line Side Disconnect | SIEMENS | GNF323R | 100 | APS
Uni-Directional Meter Line Side Disconnect | SIEMENS | LNF221R | 30 | APS
Uni-Directional Meter Line Side Disconnect | SIEMENS | LNF222R | 60 | APS
Uni-Directional Meter Line Side Disconnect | SQUARE D | DU221RB | 30 | APS
Uni-Directional Meter Line Side Disconnect | SQUARE D | DU222RB | 60 | APS
Uni-Directional Meter Line Side Disconnect | SQUARE D | DTU223RB | 100 | APS
Uni-Directional Meter Line Side Disconnect | SQUARE D | DU324RB | 200 | APS
Dedicated Photovoltaic System Combiner Panel | EATON | BR816L100RP | 100 | APS
Dedicated Photovoltaic System Combiner Panel | EATON | BR816L125RP | 125 | APS
Dedicated Photovoltaic System Combiner Panel | EATON | BR816L200RP | 200 | APS
Dedicated Photovoltaic System Combiner Panel | SIEMENS | W0816ML1125CU | 125 | APS
DER Storage Meter Disconnect Switch | CUTLER HAMMER | DG221URB | 30 | SRP
DER Storage Meter Disconnect Switch | CUTLER HAMMER | DG222URB | 60 | SRP
DER Storage Meter Disconnect Switch | CUTLER HAMMER | DG323UGB | 100 | SRP
DER Storage Meter Disconnect Switch | CUTLER HAMMER | DG324URK | 200 | SRP
DER Storage Meter Disconnect Switch | EATON | DG221URB | 30 | SRP
DER Storage Meter Disconnect Switch | EATON | DG222URB | 60 | SRP
DER Storage Meter Disconnect Switch | EATON | DG223URB | 100 | SRP
DER Storage Meter Disconnect Switch | EATON | DG324URK | 200 | SRP
DER Storage Meter Disconnect Switch | SIEMENS | DU324RB | 200 | SRP
DER Storage Meter Disconnect Switch | SIEMENS | GNF323R | 100 | SRP
DER Storage Meter Disconnect Switch | SIEMENS | LNF221R | 30 | SRP
DER Storage Meter Disconnect Switch | SIEMENS | LNF222R | 60 | SRP
DER Storage Meter Disconnect Switch | SQUARE D | DU221RB | 30 | SRP
DER Storage Meter Disconnect Switch | SQUARE D | DU222RB | 60 | SRP
DER Storage Meter Disconnect Switch | SQUARE D | DTU223RB | 100 | SRP
DER Storage Meter Disconnect Switch | SQUARE D | DU324RB | 200 | SRP
DER Storage Meter Disconnect Switch | SQUARE D | D223NRB | 100 | SRP
DER Storage Meter | EATON | 011 | 125 | SRP
DER Storage Meter | EATON | 1004455BCH | 200A | SRP
DER Storage Meter | MILBANK | U4015-0 | 200 | SRP
DER Storage Meter | MILBANK | U4518-XL-W | 200 | SRP
DER Storage Meter | MILBANK | U5929XL | 100 | SRP
DER Storage Meter | SIEMENS | UAT111-BPCC | 135 | SRP
DER Meter Disconnect Switch | CUTLER HAMMER | DG221URB | 30 | SRP
DER Meter Disconnect Switch | CUTLER HAMMER | DG222URB | 60 | SRP
DER Meter Disconnect Switch | CUTLER HAMMER | DG323UGB | 100 | SRP
DER Meter Disconnect Switch | CUTLER HAMMER | DG324URK | 200 | SRP
DER Meter Disconnect Switch | EATON | DG221URB | 30 | SRP
DER Meter Disconnect Switch | EATON | DG222URB | 60 | SRP
DER Meter Disconnect Switch | EATON | DG223URB | 100 | SRP
DER Meter Disconnect Switch | EATON | DG324URK | 200 | SRP
DER Meter Disconnect Switch | SIEMENS | DU324RB | 200 | SRP
DER Meter Disconnect Switch | SIEMENS | GNF323R | 100 | SRP
DER Meter Disconnect Switch | SIEMENS | LNF221R | 30 | SRP
DER Meter Disconnect Switch | SIEMENS | LNF222R | 60 | SRP
DER Meter Disconnect Switch | SQUARE D | DU221RB | 30 | SRP
DER Meter Disconnect Switch | SQUARE D | DU222RB | 60 | SRP
DER Meter Disconnect Switch | SQUARE D | DTU223RB | 100 | SRP
DER Meter Disconnect Switch | SQUARE D | DU324RB | 200 | SRP
DG Disconnect Switch | CUTLER HAMMER | DG221URB | 30 | TEP
DG Disconnect Switch | CUTLER HAMMER | DG222URB | 60 | TEP
DG Disconnect Switch | CUTLER HAMMER | DG323UGB | 100 | TEP
DG Disconnect Switch | CUTLER HAMMER | DG324URK | 200 | TEP
DG Disconnect Switch | EATON | DG221URB | 30 | TEP
DG Disconnect Switch | EATON | DG222URB | 60 | TEP
DG Disconnect Switch | EATON | DG223URB | 100 | TEP
DG Disconnect Switch | EATON | DG324URK | 200 | TEP
DG Disconnect Switch | SIEMENS | DU324RB | 200 | TEP
DG Disconnect Switch | SIEMENS | GNF323R | 100 | TEP
DG Disconnect Switch | SIEMENS | LNF221R | 30 | TEP
DG Disconnect Switch | SIEMENS | LNF222R | 60 | TEP
DG Disconnect Switch | SQUARE D | DU221RB | 30 | TEP
DG Disconnect Switch | SQUARE D | DU222RB | 60 | TEP
DG Disconnect Switch | SQUARE D | DTU223RB | 100 | TEP
DG Disconnect Switch | SQUARE D | DU324RB | 200 | TEP
Utility DG Meter | EATON | 011 | 125 | TEP
Utility DG Meter | EATON | 1004455BCH | 200A | TEP
Utility DG Meter | MILBANK | U4015-0 | 200 | TEP
Utility DG Meter | MILBANK | U4518-XL-W | 200 | TEP
Utility DG Meter | MILBANK | U5929XL | 100 | TEP
Utility DG Meter | SIEMENS | UAT111-BPCC | 135 | TEP
Co-Generation System Utility Disconnect | EATON | DG221URB | 30 | TRICO
Co-Generation System Utility Disconnect | EATON | DG222URB | 60 | TRICO
Co-Generation System Utility Disconnect | EATON | DG223URB | 100 | TRICO
Co-Generation System Utility Disconnect | EATON | DG324URK | 200 | TRICO
Co-Generation System Utility Disconnect | SIEMENS | DU324RB | 200 | TRICO
Co-Generation System Utility Disconnect | SIEMENS | GNF323R | 100 | TRICO
Co-Generation System Utility Disconnect | SIEMENS | LNF221R | 30 | TRICO
Co-Generation System Utility Disconnect | SIEMENS | LNF222R | 60 | TRICO
Co-Generation System Utility Disconnect | SQUARE D | DU221RB | 30 | TRICO
Co-Generation System Utility Disconnect | SQUARE D | DU222RB | 60 | TRICO
Co-Generation System Utility Disconnect | SQUARE D | DTU223RB | 100 | TRICO
Co-Generation System Utility Disconnect | SQUARE D | DU324RB | 200 | TRICO
Utility DG Meter | EATON | 011 | 125 | UniSource
Utility DG Meter | EATON | 1004455BCH | 200A | UniSource
Utility DG Meter | MILBANK | U4015-0 | 200 | UniSource
Utility DG Meter | MILBANK | U4518-XL-W | 200 | UniSource
Utility DG Meter | MILBANK | U5929XL | 100 | UniSource
Utility DG Meter | SIEMENS | UAT111-BPCC | 135 | UniSource
DG Disconnect Switch | EATON | DG221URB | 30 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | EATON | DG222URB | 60 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | EATON | DG223URB | 100 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | EATON | DG324URK | 200 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SIEMENS | DU324RB | 200 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SIEMENS | GNF323R | 100 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SIEMENS | LNF221R | 30 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SIEMENS | LNF222R | 60 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SQUARE D | DU221RB | 30 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SQUARE D | DU222RB | 60 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SQUARE D | DTU223RB | 100 | Sulphur Springs Valley Electric Cooperative
DG Disconnect Switch | SQUARE D | DU324RB | 200 | Sulphur Springs Valley Electric Cooperative
Photovoltaic System Disconnect | CUTLER HAMMER | DG221NRB | 30 | APS
Photovoltaic System Disconnect | CUTLER HAMMER | DG222NRB | 60 | APS
Photovoltaic System Disconnect | CUTLER HAMMER | DG223NRB | 100 | APS
Photovoltaic System Disconnect | CUTLER HAMMER | DG324NRK | 200 | APS
Photovoltaic System Disconnect | EATON | DG221NRB | 30 | APS
Photovoltaic System Disconnect | EATON | DG222NRB | 60 | APS
Photovoltaic System Disconnect | EATON | DG223NRB | 100 | APS
Photovoltaic System Disconnect | EATON | DG324NRK | 200 | APS
Photovoltaic System Disconnect | SIEMENS | GF224NR | 200 | APS
Photovoltaic System Disconnect | SIEMENS | GF323 | 100 | APS
Photovoltaic System Disconnect | SIEMENS | LF221R | 30 | APS
Photovoltaic System Disconnect | SIEMENS | LF222R | 60 | APS
Photovoltaic System Disconnect | SQUARE D | D221NRB | 30 | APS
Photovoltaic System Service Disconnect | CUTLER HAMMER | DG221NRB | 30 | APS
Photovoltaic System Service Disconnect | CUTLER HAMMER | DG222NRB | 60 | APS
Photovoltaic System Service Disconnect | CUTLER HAMMER | DG223NRB | 100 | APS
Photovoltaic System Service Disconnect | CUTLER HAMMER | DG324NRK | 200 | APS
Photovoltaic System Service Disconnect | EATON | DG221NRB | 30 | APS
Photovoltaic System Service Disconnect | EATON | DG222NRB | 60 | APS
Photovoltaic System Service Disconnect | EATON | DG223NRB | 100 | APS
Photovoltaic System Service Disconnect | EATON | DG324NRK | 200 | APS
Photovoltaic System Service Disconnect | SIEMENS | GF224NR | 200 | APS
Photovoltaic System Service Disconnect | SIEMENS | GF323 | 100 | APS
Photovoltaic System Service Disconnect | SIEMENS | LF221R | 30 | APS
Photovoltaic System Service Disconnect | SIEMENS | LF222R | 60 | APS
Photovoltaic System Service Disconnect | SQUARE D | D221NRB | 30 | APS
Dedicated DER Meter | Cutler Hammer | UNRRS101BEUSE | 125 | SRP
Dedicated DER Meter | Cutler Hammer | UNRRS111BEUSE | 125 | SRP
Dedicated DER Meter | Cutler Hammer | URTRS101BE | 125 | SRP
Dedicated DER Meter | Cutler Hammer | B-Line 011 SRP | 125 | SRP
Dedicated DER Meter | Cutler Hammer | B-Line 011 SRP MS18 | 125 | SRP
Dedicated DER Meter | Cutler Hammer | B-Line 011 MS25 | 125 | SRP
Dedicated DER Meter | Cutler Hammer | CH114TB | 125 | SRP
Dedicated DER Meter | Cutler Hammer | CH115TB | 125 | SRP
Dedicated DER Meter | Cutler Hammer | CH117TB | 125 | SRP
Dedicated DER Meter | Cutler Hammer | UNRRS202BEUSCH | 200 | SRP
Dedicated DER Meter | Cutler Hammer | UNRRS213AEUSE | 200 | SRP
Dedicated DER Meter | Cutler Hammer | UNRRS213BEUSE | 200 | SRP
Dedicated DER Meter | Cutler Hammer | UNRRS213CEUSE | 200 | SRP
Dedicated DER Meter | Cutler Hammer | URTRS202BCH | 200 | SRP
Dedicated DER Meter | Cutler Hammer | URTRS202NEUSCH | 200 | SRP
Dedicated DER Meter | Cutler Hammer | URTRS213BE | 200 | SRP
Dedicated DER Meter | Cutler Hammer | URTRS213NEUSCH | 200 | SRP
Dedicated DER Meter | Cutler Hammer | CH124TB | 200 | SRP
Dedicated DER Meter | Cutler Hammer | CH125TB | 200 | SRP
Dedicated DER Meter | Cutler Hammer | CH127TB | 200 | SRP
Dedicated DER Meter | Milbank | U5929-XL-INS | 100 | SRP
Dedicated DER Meter | Milbank | 114TB | 100 | SRP
Dedicated DER Meter | Milbank | 115TB | 100 | SRP
Dedicated DER Meter | Milbank | 117TB | 100 | SRP
Dedicated DER Meter | Milbank | U7490-RL | 125 | SRP
Dedicated DER Meter | Milbank | U1681-RL | 125 | SRP
Dedicated DER Meter | Milbank | U4015-O | 200 | SRP
Dedicated DER Meter | Milbank | U4517-DL-M4 | 200 | SRP
Dedicated DER Meter | Milbank | U4518-O-W | 200 | SRP
Dedicated DER Meter | Milbank | U4518-XL-W | 200 | SRP
Dedicated DER Meter | Milbank | 124TB | 200 | SRP
Dedicated DER Meter | Milbank | U3328-RXL | 200 | SRP
Dedicated DER Meter | Milbank | 125TB | 200 | SRP
Dedicated DER Meter | Milbank | 127TB | 200 | SRP
Dedicated DER Meter | Milbank | U5929-XL-PG-RINGSKT | 100 | SRP
Bi-Directional Meter | MILBANK | U1104-RL-PG-KK | 200 | APS
Utility Disconnect | Siemens | GNF324R | 200 | APS
Fused AC Disconnect | Siemens | GNF324R | 200 | Gen
Fused AC Disconnect | Square D | D222NRB | 60 | Gen